## Config.xml
?xml	version="1.0"	encoding="utf-8"?
Configuration
Author
Name	Krzysztof	Miernik	/Name
Email	k.a.miernik@gmail.com	/Email
Date	Jun-Feb	2013	/Date
/Author

Description
Tests	of	the	SHE	DSSD	detector
/Description

Global
Revision	version="D"/
EventWidth	unit="s"	value="1e-6"/
EnergyContraction	value="1.0"/
Path	config/	/Path
NumOfTraces	value="50"/
/Global

DetectorDriver
Processor	name="BeamLogicProcessor"	/
Processor	name="Dssd4SHEProcessor"
front_back_correlation_time="300e-9"
delta_energy="300"
high_energy_cut="15000"
low_energy_cut="8000"
fission_energy_cut="100000"	/
Analyzer	name="DoubleTraceAnalyzer"
gain_match="10.00"
fast_rise="10"
fast_gap="10"
fast_threshold="80"
energy_rise="25"
energy_gap="25"
slow_rise="20"
slow_gap="20"
slow_threshold="20"/
/DetectorDriver

Map	verbose_calibration="False"
verbose_map="False"
verbose_walk="False"
Module	number="0"
Channel	number="0"	location="48"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-106.0716849853	16.0259557679	/Calibration
/Channel
Channel	number="1"	location="47"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-144.6856533679	16.0652500471	/Calibration
/Channel
Channel	number="2"	location="46"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-117.312432914	16.0856314456	/Calibration
/Channel
Channel	number="3"	location="45"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-115.687564725	16.3802254585	/Calibration
/Channel
Channel	number="4"	location="44"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-136.4204018127	16.4319444786	/Calibration
/Channel
Channel	number="5"	location="43"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-140.2028000948	16.5843093345	/Calibration
/Channel
Channel	number="6"	location="42"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-134.5667105329	16.4186591531	/Calibration
/Channel
Channel	number="7"	location="41"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-91.6846544204	16.5511816904	/Calibration
/Channel
Channel	number="8"	location="40"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-138.6697604198	16.5549917393	/Calibration
/Channel
Channel	number="9"	location="39"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-120.3000248266	17.2311144348	/Calibration
/Channel
Channel	number="10"	location="38"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-134.3661530864	16.2813713847	/Calibration
/Channel
Channel	number="11"	location="37"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-140.981709272	16.4631982501	/Calibration
/Channel
Channel	number="12"	location="36"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-120.4332109079	16.529603155	/Calibration
/Channel
Channel	number="13"	location="35"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-134.9107859812	16.6337704196	/Calibration
/Channel
Channel	number="14"	location="34"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-113.4069901083	16.5832172589	/Calibration
/Channel
Channel	number="15"	location="33"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-123.2937524418	16.2660313389	/Calibration
/Channel
/Module
Module	number="1"
Channel	number="0"	location="32"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-120.3777086778	16.1274998321	/Calibration
/Channel
Channel	number="1"	location="31"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-126.268288759	16.3574826698	/Calibration
/Channel
Channel	number="2"	location="30"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-134.8028563218	16.1445671021	/Calibration
/Channel
Channel	number="3"	location="29"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-121.8490329722	16.3135617324	/Calibration
/Channel
Channel	number="4"	location="28"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-139.2673624839	16.4708502615	/Calibration
/Channel
Channel	number="5"	location="27"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-121.1937828271	16.6076995516	/Calibration
/Channel
Channel	number="6"	location="26"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-123.1629350976	16.5444165583	/Calibration
/Channel
Channel	number="7"	location="25"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-118.9780393312	16.5637825188	/Calibration
/Channel
Channel	number="8"	location="24"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-154.838483627	16.4807073082	/Calibration
/Channel
Channel	number="9"	location="23"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-125.049639008	16.8101937771	/Calibration
/Channel
Channel	number="10"	location="22"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-117.9470593902	16.5802440827	/Calibration
/Channel
Channel	number="11"	location="21"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-123.0768892786	16.6364572296	/Calibration
/Channel
Channel	number="12"	location="20"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-137.2823739742	16.2921821949	/Calibration
/Channel
Channel	number="13"	location="19"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-132.787215711	16.8109242043	/Calibration
/Channel
Channel	number="14"	location="18"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-118.1974962446	16.5812909137	/Calibration
/Channel
Channel	number="15"	location="17"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-147.1488223546	16.3749012596	/Calibration
/Channel
/Module
Module	number="2"
Channel	number="0"	location="16"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-117.9006613848	16.1261715465	/Calibration
/Channel
Channel	number="1"	location="15"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-112.9225797233	16.6334048134	/Calibration
/Channel
Channel	number="2"	location="14"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-141.3178874954	16.6269671656	/Calibration
/Channel
Channel	number="3"	location="13"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-93.2218606022	16.6438642953	/Calibration
/Channel
Channel	number="4"	location="12"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-122.4075191827	16.2535269221	/Calibration
/Channel
Channel	number="5"	location="11"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-123.0282236132	16.6269671656	/Calibration
/Channel
Channel	number="6"	location="10"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-129.1355013986	16.3177991306	/Calibration
/Channel
Channel	number="7"	location="9"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-143.8065894443	16.5969926811	/Calibration
/Channel
Channel	number="8"	location="8"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-127.3448133095	16.6752893051	/Calibration
/Channel
Channel	number="9"	location="7"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-118.2690744445	16.6710194345	/Calibration
/Channel
Channel	number="10"	location="6"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-126.0337002486	16.7470521078	/Calibration
/Channel
Channel	number="11"	location="5"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-131.0405751336	16.3289635853	/Calibration
/Channel
Channel	number="12"	location="4"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-127.7780556928	16.4972122349	/Calibration
/Channel
Channel	number="13"	location="3"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-133.0085668162	16.5612834668	/Calibration
/Channel
Channel	number="14"	location="2"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-132.6514357875	16.572435559	/Calibration
/Channel
Channel	number="15"	location="1"	subtype="dssd_front"	type="dssd_front"
Calibration	max="32000"	model="linlin"	-132.6514357875	16.572435559	/Calibration
/Channel
/Module
Module	number="3"
Channel	number="0"	location="64"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-129.353555616	3.516112216	/Calibration
/Channel
Channel	number="1"	location="63"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-130.4489813622	3.4975013387	/Calibration
/Channel
Channel	number="2"	location="62"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-133.6833526791	3.5166755146	/Calibration
/Channel
Channel	number="3"	location="61"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-136.5770927545	3.5654627077	/Calibration
/Channel
Channel	number="4"	location="60"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-143.2133782379	3.5372214661	/Calibration
/Channel
Channel	number="5"	location="59"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.8870041287	3.5496441328	/Calibration
/Channel
Channel	number="6"	location="58"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-140.4128619738	3.6458197008	/Calibration
/Channel
Channel	number="7"	location="57"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.5287653312	3.5488266682	/Calibration
/Channel
Channel	number="8"	location="56"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-150.8049239457	3.5391919919	/Calibration
/Channel
Channel	number="9"	location="55"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.5049574259	3.5433827173	/Calibration
/Channel
Channel	number="10"	location="54"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.8912824084	3.5748923154	/Calibration
/Channel
Channel	number="11"	location="53"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.8883079366	3.6171938977	/Calibration
/Channel
Channel	number="12"	location="52"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.1078683929	3.5451831176	/Calibration
/Channel
Channel	number="13"	location="51"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.7789621658	3.614844496	/Calibration
/Channel
Channel	number="14"	location="50"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.3995289702	3.5772086442	/Calibration
/Channel
Channel	number="15"	location="49"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.2870850883	3.5616856729	/Calibration
/Channel
/Module
Module	number="4"
Channel	number="0"	location="48"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-136.7762459476	3.5243345481	/Calibration
/Channel
Channel	number="1"	location="47"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-139.834331812	3.5391404515	/Calibration
/Channel
Channel	number="2"	location="46"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-139.8180984026	3.575025933	/Calibration
/Channel
Channel	number="3"	location="45"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.4851068132	3.5681553225	/Calibration
/Channel
Channel	number="4"	location="44"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-151.119900018	3.5934234847	/Calibration
/Channel
Channel	number="5"	location="43"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.163862331	3.5689109244	/Calibration
/Channel
Channel	number="6"	location="42"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.4169432184	3.587747775	/Calibration
/Channel
Channel	number="7"	location="41"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.1467394577	3.5761752772	/Calibration
/Channel
Channel	number="8"	location="40"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.380261215	3.6224148898	/Calibration
/Channel
Channel	number="9"	location="39"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.1951455761	3.6664376299	/Calibration
/Channel
Channel	number="10"	location="38"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-151.3403468875	3.5670226927	/Calibration
/Channel
Channel	number="11"	location="37"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.6045905819	3.6112123446	/Calibration
/Channel
Channel	number="12"	location="36"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.308919046	3.626879179	/Calibration
/Channel
Channel	number="13"	location="35"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-150.0205149935	3.5653687848	/Calibration
/Channel
Channel	number="14"	location="34"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.8842686783	3.645387578	/Calibration
/Channel
Channel	number="15"	location="33"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-154.0438528639	3.5400219804	/Calibration
/Channel
/Module
Module	number="5"
Channel	number="0"	location="16"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.1388720411	3.5741886897	/Calibration
/Channel
Channel	number="1"	location="15"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-138.9813034097	3.5630445458	/Calibration
/Channel
Channel	number="2"	location="14"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-140.1976255185	3.5294929438	/Calibration
/Channel
Channel	number="3"	location="13"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.4602313115	3.621814109	/Calibration
/Channel
Channel	number="4"	location="12"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-134.6970883235	3.5910901883	/Calibration
/Channel
Channel	number="5"	location="11"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-139.8576867028	3.6242781384	/Calibration
/Channel
Channel	number="6"	location="10"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.2525148935	3.6613290812	/Calibration
/Channel
Channel	number="7"	location="9"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.7971182853	3.6482835107	/Calibration
/Channel
Channel	number="8"	location="8"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-143.129730041	3.6813886655	/Calibration
/Channel
Channel	number="9"	location="7"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.3891259229	3.5756328702	/Calibration
/Channel
Channel	number="10"	location="6"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-134.0249361801	3.6118668083	/Calibration
/Channel
Channel	number="11"	location="5"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.3133224612	3.6435051102	/Calibration
/Channel
Channel	number="12"	location="4"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-153.6561333401	3.5616767227	/Calibration
/Channel
Channel	number="13"	location="3"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.8172531143	3.6112328991	/Calibration
/Channel
Channel	number="14"	location="2"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.9933791785	3.5887639852	/Calibration
/Channel
Channel	number="15"	location="1"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-138.4314596409	3.6609617957	/Calibration
/Channel
/Module
Module	number="6"
Channel	number="0"	location="32"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-135.0603067397	3.4796351546	/Calibration
/Channel
Channel	number="1"	location="31"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-133.0667818898	3.5011871928	/Calibration
/Channel
Channel	number="2"	location="30"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-143.8748188139	3.5540264255	/Calibration
/Channel
Channel	number="3"	location="29"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.8389482531	3.6326575478	/Calibration
/Channel
Channel	number="4"	location="28"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.2912603495	3.6233263171	/Calibration
/Channel
Channel	number="5"	location="27"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.2935138986	3.6529987024	/Calibration
/Channel
Channel	number="6"	location="26"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.9914625999	3.6360190089	/Calibration
/Channel
Channel	number="7"	location="25"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.9257204443	3.5878494205	/Calibration
/Channel
Channel	number="8"	location="24"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.4362499345	3.6499485573	/Calibration
/Channel
Channel	number="9"	location="23"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-132.4686614588	3.6501240784	/Calibration
/Channel
Channel	number="10"	location="22"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-159.7592075883	3.6577626569	/Calibration
/Channel
Channel	number="11"	location="21"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-153.914147498	3.6321004378	/Calibration
/Channel
Channel	number="12"	location="20"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.7866569014	3.5810167579	/Calibration
/Channel
Channel	number="13"	location="19"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.989377434	3.613018134	/Calibration
/Channel
Channel	number="14"	location="18"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.6414300513	3.5468985851	/Calibration
/Channel
Channel	number="15"	location="17"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-155.4120350101	3.6260013901	/Calibration
/Channel
/Module
Module	number="7"
Channel	number="0"	location="128"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.510612869	3.4507796614	/Calibration
/Channel
Channel	number="1"	location="127"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-134.7211752445	3.5391569749	/Calibration
/Channel
Channel	number="2"	location="126"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-153.9597840934	3.5518322691	/Calibration
/Channel
Channel	number="3"	location="125"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-150.5979963015	3.6032056909	/Calibration
/Channel
Channel	number="4"	location="124"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-152.4168365511	3.5861045411	/Calibration
/Channel
Channel	number="5"	location="123"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-135.7521100541	3.5719683626	/Calibration
/Channel
Channel	number="6"	location="122"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.5207432088	3.6175127083	/Calibration
/Channel
Channel	number="7"	location="121"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.5082249598	3.6478899042	/Calibration
/Channel
Channel	number="8"	location="120"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-151.6462510991	3.640614241	/Calibration
/Channel
Channel	number="9"	location="119"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.3550363252	3.5739331025	/Calibration
/Channel
Channel	number="10"	location="118"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.6994952963	3.6007381954	/Calibration
/Channel
Channel	number="11"	location="117"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.0727515651	3.5401707781	/Calibration
/Channel
Channel	number="12"	location="116"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.3337380842	3.5547433676	/Calibration
/Channel
Channel	number="13"	location="115"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.2811546496	3.6164249997	/Calibration
/Channel
Channel	number="14"	location="114"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-150.0568580807	3.5346722182	/Calibration
/Channel
Channel	number="15"	location="113"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.4926356262	3.5303273719	/Calibration
/Channel
/Module
Module	number="8"
Channel	number="0"	location="112"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.3104561139	3.578061763	/Calibration
/Channel
Channel	number="1"	location="111"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-138.6991813581	3.6096133088	/Calibration
/Channel
Channel	number="2"	location="110"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.261102766	3.5963109556	/Calibration
/Channel
Channel	number="3"	location="109"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.0401860938	3.6214985108	/Calibration
/Channel
Channel	number="4"	location="108"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-138.5541737675	3.6256194842	/Calibration
/Channel
Channel	number="5"	location="107"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.6641637945	3.6077134276	/Calibration
/Channel
Channel	number="6"	location="106"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.3753201464	3.6178767014	/Calibration
/Channel
Channel	number="7"	location="105"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.9011266514	3.6797418085	/Calibration
/Channel
Channel	number="8"	location="104"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-153.415901512	3.6343966776	/Calibration
/Channel
Channel	number="9"	location="103"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.5221385847	3.6203470687	/Calibration
/Channel
Channel	number="10"	location="102"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.8884891349	3.6693782363	/Calibration
/Channel
Channel	number="11"	location="101"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.085456234	3.6596670286	/Calibration
/Channel
Channel	number="12"	location="100"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-141.0718606889	3.6731672801	/Calibration
/Channel
Channel	number="13"	location="99"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.3999098875	3.6048869843	/Calibration
/Channel
Channel	number="14"	location="98"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-139.2032827676	3.6059347886	/Calibration
/Channel
Channel	number="15"	location="97"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-151.5730745972	3.6241111418	/Calibration
/Channel
/Module
Module	number="9"
Channel	number="0"	location="85"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.211501643	3.5716539709	/Calibration
/Channel
Channel	number="1"	location="95"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-132.2824762172	3.5546767356	/Calibration
/Channel
Channel	number="2"	location="94"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-140.2270249533	3.5576938279	/Calibration
/Channel
Channel	number="3"	location="93"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-142.3371304411	3.525459024	/Calibration
/Channel
Channel	number="4"	location="92"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.1144280237	3.5760515625	/Calibration
/Channel
Channel	number="5"	location="91"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-157.8675231298	3.6032084447	/Calibration
/Channel
Channel	number="6"	location="90"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-156.1620908395	3.6337006888	/Calibration
/Channel
Channel	number="7"	location="89"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.2327325019	3.5812843695	/Calibration
/Channel
Channel	number="8"	location="88"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.4621486358	3.5883791754	/Calibration
/Channel
Channel	number="9"	location="87"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-138.8246106132	3.6386037936	/Calibration
/Channel
Channel	number="10"	location="86"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.4034305523	3.5922520993	/Calibration
/Channel
Channel	number="11"	location="96"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.7947167295	3.5821891933	/Calibration
/Channel
Channel	number="12"	location="84"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-154.3212598502	3.5900102478	/Calibration
/Channel
Channel	number="13"	location="83"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-146.8891864814	3.5947360313	/Calibration
/Channel
Channel	number="14"	location="82"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.3836065438	3.5705835702	/Calibration
/Channel
Channel	number="15"	location="81"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.3492795831	3.5708084753	/Calibration
/Channel
/Module
Module	number="10"
Channel	number="0"	location="80"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-140.4769847018	3.4943370915	/Calibration
/Channel
Channel	number="1"	location="79"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-125.7559974964	3.5257094677	/Calibration
/Channel
Channel	number="2"	location="78"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-136.4910520229	3.517601776	/Calibration
/Channel
Channel	number="3"	location="77"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-139.9318711623	3.4997354822	/Calibration
/Channel
Channel	number="4"	location="76"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-137.3334908904	3.5208834664	/Calibration
/Channel
Channel	number="5"	location="75"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-134.8422939984	3.5426220265	/Calibration
/Channel
Channel	number="6"	location="74"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.8470476399	3.5554128211	/Calibration
/Channel
Channel	number="7"	location="73"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-149.0277016719	3.5594583756	/Calibration
/Channel
Channel	number="8"	location="72"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-144.7493469812	3.5336768796	/Calibration
/Channel
Channel	number="9"	location="71"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.8675641133	3.5519533731	/Calibration
/Channel
Channel	number="10"	location="70"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-143.3931667021	3.5572920751	/Calibration
/Channel
Channel	number="11"	location="69"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-145.5533603436	3.5633449553	/Calibration
/Channel
Channel	number="12"	location="68"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-148.5463333458	3.5824213545	/Calibration
/Channel
Channel	number="13"	location="67"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-147.5401074301	3.5778853142	/Calibration
/Channel
Channel	number="14"	location="66"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-156.6508948845	3.556376862	/Calibration
/Channel
Channel	number="15"	location="65"	subtype="dssd_back"	type="dssd_back"
Calibration	max="32000"	model="linlin"	-163.35898269	3.5578051547	/Calibration
/Channel
/Module
Module	number="11"
Channel	number="1"	subtype="veto"	type="si"
Calibration	max="32000"	model="linlin"	580.3049468647	8.0563222056	/Calibration
/Channel
Channel	number="2"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	580.3049468647	8.0563222056	/Calibration
/Channel
Channel	number="3"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	589.055431777	7.6769933654	/Calibration
/Channel
Channel	number="4"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	186.4884772759	8.9343857711	/Calibration
/Channel
Channel	number="5"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	525.3142405863	7.8998291203	/Calibration
/Channel
Channel	number="6"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	553.5090813599	8.0978666307	/Calibration
/Channel
Channel	number="7"	subtype="si"	type="si"
Calibration	max="32000"	model="linlin"	207.1418169746	8.6917406398	/Calibration
/Channel
/Module
Module	number="12"
Channel	number="0"	subtype="mcp"	type="mcp"
Calibration	max="32000"	model="linlin"	0	1	/Calibration
/Channel
Channel	number="1"	subtype="mcp"	type="mcp"
Calibration	max="32000"	model="linlin"	0	1	/Calibration
/Channel
Channel	number="2"	subtype="analog"	type="logic"
Calibration	max="32000"	model="linlin"	0	1	/Calibration
/Channel
Channel	number="3"	subtype="beam"	type="logic"
Calibration	max="32000"	model="linlin"	0	1	/Calibration
/Channel
Channel	number="4"	subtype="none"	type="logic"
Calibration	max="32000"	model="linlin"	0	1	/Calibration
/Channel
/Module
/Map

TreeCorrelator	name="root"	verbose="False"
Place	type="PlaceDetector"	name="Beam"	reset="false"	init="true"/
/TreeCorrelator

GammaGates
/GammaGates

Notebook	file="chains.txt"	mode="a"/

/Configuration

## ConfigChannels
-96.2672829519	15.5493652679	150.9449156247	14.7499344234
-122.3208608694	15.5636595928	160.177675549	14.6423921535
-118.5889493058	15.6701893852	137.5062450523	14.8381563902
-110.1662046991	15.8920938787	156.0823916719	15.0097873476
-118.8893279692	15.9422588347	176.269496939	14.9671723893
-125.858316327	16.0678676181	155.1653811659	15.1295964126
-103.8871269687	15.8189348277	130.1605103498	15.051302641
-133.2674390538	16.2191426911	142.3686071817	15.2969713457
-121.2424941274	16.0080408534	89.3004174986	15.3108549646
-120.3049862836	16.6989483253	141.5456289779	15.7894983152
-119.2597433089	15.7496432542	83.4893578966	15.0862994098
-125.8410073211	15.9076963225	159.8954767184	14.9618625277
-114.3480267109	16.0305648381	158.3740813766	15.1187488797
-131.3319071455	16.1366759817	148.5888608508	15.2032263879
-107.3021323089	16.0877222496	150.133742442	15.2238065157
-105.4809911497	15.7537133665	173.1178203888	14.8381563902
-129.1894815099	15.7242539817	149.8399332689	14.8120993942
-131.3286668339	15.9156127223	144.0745617938	15.0097873476
-130.4635088633	15.6823528605	91.7619976936	14.9645169875
-126.8328318071	15.8787400836	138.9674966652	15.0017785683
-122.5878362468	15.971116685	159.8269470683	15.0325253965
-124.7045375687	16.1581944503	162.3621621622	15.1977477477
-135.919853037	16.1148604633	108.6048167634	15.3025217707
-117.111195216	16.0792603166	125.246967228	15.2720441789
-139.3100358677	15.9385100528	124.5320707522	15.0701268537
-118.1868697534	16.310132942	150.1406920478	15.4017164247
-123.458465575	16.1061877799	108.762543174	15.3331212507
-121.4728986786	16.1581944503	123.9905437352	15.3386979451
-130.1035222438	15.7987486052	112.3660857194	15.0004446025
-114.4034910012	16.2586955266	116.6936135071	15.4794457699
-123.958724093	16.1043061686	90.3097801295	15.3904753216
-134.0549964482	15.8570097393	122.5563468043	15.0164678654
-124.3677941377	15.7151717116	124.8147853736	14.8997526939
-131.9630130192	16.2336054785	193.2295611595	15.1391007808
-115.9665161064	16.082430587	163.5739427135	15.1472568914
-131.4226844695	16.279010608	195.7892796115	15.1717780376
-122.8801611721	15.8152119961	118.2430747306	15.025830587
-117.3290140557	16.1322464924	162.0500765559	15.1936413582
-119.4424647207	15.825426786	141.8450004436	14.9671723893
-132.7441956323	16.0735876644	155.0417525311	15.1146850641
-126.8056954992	16.1955606308	159.0846202474	15.2348053825
-129.8209387316	16.2249063464	158.7170118477	15.2568508637
-129.2135038718	16.2422277949	109.7333882482	15.4397766795
-123.0401937278	15.8171010221	148.5829425816	14.924798726
-126.7884553848	16.03674964	107.5512890095	15.2596110357
-132.3915406678	16.0876923166	125.3690884477	15.2251805054
-113.9389001132	16.0327917007	147.4307540217	15.160869956